{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["RN042461","RN042462","RN042463","RN042464","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"RN042461","index":0,"n_rows":112,"n_cols":20,"rows_kept":112,"cut":false,"hidden":false,"merged":[[93,0,111,0],[3,0,59,0],[60,0,62,0],[63,0,80,0],[81,0,92,0]]}
["RN042461"]
["CARPENTARIA 2"]
["Category","CHEMICAL NAME","RESULT UNIT","LIMIT OF DETECTION","2021-11-03","2021-11-14","2021-11-17","2021-11-21","2021-11-24","2021-11-28","2021-12-01","2021-12-08","2022-01-09","2022-01-26","2022-02-09","2022-02-23","2022-03-09","2022-03-23","2022-04-06","2022-07-17"]
["General, anions, cations and metal","pH - Lab","pH Unit","0.01",7.6,7.55,7.52,7,7.45,7.7,7.52,7.22,7.59,7.36,7.37,7.64,7.47,7.29,7.01,7.44]
[null,"Electrical Conductivity @ 25°C","µS/cm","1",1100,1090,1110,1070,1080,1090,1070,1040,1090,1080,1100,1100,1120,1020,1050,1100]
[null,"Total Dissolved Solids @180°C","mg/L","10",713,605,598,744,820,680,706,732,766,682,716,754,744,644,562,617]
[null,"Suspended Solids (SS)","mg/L","1","----",3,2,1,"<1","<1","<1",3,2,2,2,4,2,5,10,"<1"]
[null,"Gross beta","Bq/L","0.10",0.33,0.45,0.34,0.39,0.36,0.34,0.34,0.37,0.26,0.21,0.24,0.31,0.36,"---",0.31,0.39]
[null,"Hydroxide Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Carbonate Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Bicarbonate Alkalinity as CaCO3","mg/L","1",484,478,395,496,480,373,478,494,480,464,448,484,492,479,479,461]
[null,"Total Alkalinity as CaCO3","mg/L","1",484,478,395,496,480,373,478,494,480,464,448,484,492,479,479,461]
[null,"Sulfate as SO4 2-","mg/L","1",81,90,86,82,79,86,80,82,83,88,81,82,80,81,81,86]
[null,"Chloride","mg/L","1",61,59,54,60,55,60,60,54,56,76,54,61,56,62,55,60]
[null,"Calcium D","mg/L","1",129,131,116,127,124,125,134,125,122,138,139,139,130,129,132,124]
[null,"Magnesium D","mg/L","1",47,54,44,49,48,49,50,47,47,57,50,50,48,49,46,49]
[null,"Sodium D","mg/L","1",38,48,38,42,41,40,41,40,39,43,41,40,39,39,37,38]
[null,"Potassium D","mg/L","1",8,10,7,9,8,8,9,8,8,8,9,9,8,8,9,7]
[null,"Calcium T","mg/L","1",125,118,124,126,127,135,124,129,130,125,121,134,144,138,137,123]
[null,"Magnesium T","mg/L","1",51,47,48,50,49,50,50,50,50,49,48,52,51,55,51,52]
[null,"Sodium T","mg/L","1",36,43,41,41,42,41,43,42,40,37,39,41,41,42,41,40]
[null,"Potassium T","mg/L","1",7,8,8,8,9,9,8,8,8,7,7,8,8,9,8,7]
[null,"Arsenic D","mg/L","0.001","<0.001",3.0000000000000001E-3,2E-3,3.0000000000000001E-3,"<0.001","<0.001",1E-3,1E-3,"<0.001","<0.001","<0.001","<0.001","<0.001",2E-3,"<0.001","<0.001"]
[null,"Barium D","mg/L","0.001",8.8999999999999996E-2,0.55200000000000005,0.34200000000000003,0.27900000000000003,0.30199999999999999,0.23799999999999999,0.25800000000000001,0.23400000000000001,0.155,0.125,0.156,0.14799999999999999,0.14099999999999999,0.13400000000000001,0.13100000000000001,0.10199999999999999]
[null,"Cadmium D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",2E-3,"<0.001","<0.001"]
[null,"Copper D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium D","mg/L","0.001",3.7999999999999999E-2,4.2000000000000003E-2,3.5999999999999997E-2,4.5999999999999999E-2,0.04,0.04,4.2000000000000003E-2,0.04,0.04,2.7E-2,0.04,0.04,3.9E-2,3.7999999999999999E-2,3.9E-2,4.2999999999999997E-2]
[null,"Manganese D","mg/L","0.001",1.2E-2,1.32,0.78100000000000003,0.68799999999999994,0.66200000000000003,0.56000000000000005,0.56899999999999995,0.45500000000000002,0.33700000000000002,0.26400000000000001,0.32600000000000001,0.28499999999999998,0.246,0.18,0.11700000000000001,4.9000000000000002E-2]
[null,"Selenium D","mg/L","0.01","<0.01","<0.01","<0.01",0.01,"<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium D","mg/L","0.001",0.502,0.504,0.45700000000000002,0.45200000000000001,0.51100000000000001,0.5,0.502,0.48799999999999999,0.46800000000000003,0.40799999999999997,0.503,0.49399999999999999,0.48699999999999999,0.47199999999999998,0.49399999999999999,0.48899999999999999]
[null,"Zinc D","mg/L","0.005",6.0000000000000001E-3,7.0000000000000001E-3,8.9999999999999993E-3,1.2999999999999999E-2,1.2E-2,1.4E-2,0.01,0.01,0.01,0.01,1.0999999999999999E-2,8.0000000000000002E-3,0.01,8.9999999999999993E-3,1.0999999999999999E-2,0.01]
[null,"Boron D","mg/L","0.05",0.1,0.1,0.1,0.12,0.11,0.11,0.11,0.11,0.11,0.09,0.11,0.11,0.09,0.12,0.1,0.12]
[null,"Iron D","mg/L","0.05",0.22,1.37,0.48,0.49,0.24,0.14000000000000001,0.27,0.53,0.41,0.26,0.5,0.53,0.76,0.89,1.1100000000000001,"<0.05"]
[null,"Arsenic T","mg/L","0.001","<0.001",2E-3,2E-3,1E-3,1E-3,1E-3,"<0.001",1E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Barium T","mg/L","0.001",9.5000000000000001E-2,0.53300000000000003,0.38300000000000001,0.28799999999999998,0.315,0.27,0.26200000000000001,0.249,0.17299999999999999,0.157,0.14299999999999999,0.152,0.16,0.14299999999999999,0.14199999999999999,0.107]
[null,"Cadmium T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",1E-3,"<0.001"]
[null,"Copper T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead T","mg/L","0.001","<0.001",1E-3,2E-3,2E-3,2E-3,2E-3,1E-3,2E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",1E-3,"<0.001"]
[null,"Lithium T","mg/L","0.001",3.7999999999999999E-2,4.4999999999999998E-2,4.2000000000000003E-2,4.1000000000000002E-2,0.04,4.8000000000000001E-2,4.2000000000000003E-2,4.2999999999999997E-2,0.04,7.0000000000000007E-2,4.2000000000000003E-2,4.1000000000000002E-2,4.3999999999999997E-2,3.7999999999999999E-2,4.2000000000000003E-2,0.04]
[null,"Manganese T","mg/L","0.001",1.4E-2,1.28,0.85399999999999998,0.67400000000000004,0.70399999999999996,0.60399999999999998,0.58399999999999996,0.47099999999999997,0.375,0.313,0.28000000000000003,0.28799999999999998,0.27600000000000002,0.188,0.129,0.05]
[null,"Selenium T","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium T","mg/L","0.001",0.53,0.48899999999999999,0.495,0.51,0.51800000000000002,0.54200000000000004,0.51400000000000001,0.50600000000000001,0.53100000000000003,0.50800000000000001,0.46100000000000002,0.502,0.57799999999999996,0.51300000000000001,0.50600000000000001,0.51300000000000001]
[null,"Zinc T","mg/L","0.005",8.0000000000000002E-3,0.01,1.2E-2,1.4999999999999999E-2,1.6E-2,1.4999999999999999E-2,1.4E-2,1.4E-2,1.2999999999999999E-2,8.9999999999999993E-3,1.4E-2,1.0999999999999999E-2,1.2999999999999999E-2,1.0999999999999999E-2,1.6E-2,8.9999999999999993E-3]
[null,"Boron T","mg/L","0.05",0.11,0.13,0.11,0.12,0.12,0.13,0.12,0.12,0.11,0.16,0.12,0.12,0.13,0.11,0.12,0.12]
[null,"Iron T","mg/L","0.05",0.28999999999999998,1.44,0.81,0.69,0.63,0.43,0.8,1.43,1.22,0.7,1.66,1.42,2.14,1.62,5.01,0.06]
[null,"Mercury D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Mercury T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Reactive Silica","mg/L","0.05",32,28.9,29.8,30,30.4,31.5,30.6,31.5,31.6,30.4,31.4,30.5,30.4,31,30.2,31.4]
[null,"Fluoride","mg/L","0.1",0.4,0.4,0.4,0.4,0.4,0.4,0.4,0.3,0.4,0.4,0.6,0.4,0.3,0.4,0.4,0.4]
[null,"Nitrite as N","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01",0.01,"<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Nitrate as N","mg/L","0.01",0.08,"<0.01",0.01,0.02,0.01,0.01,0.01,0.02,0.04,0.04,0.03,0.04,0.05,0.08,0.02,7.0000000000000007E-2]
[null,"Nitrite + Nitrate as N","mg/L","0.01",0.08,"<0.01",0.01,0.02,0.01,0.01,0.01,0.03,0.04,0.04,0.03,0.04,0.05,0.08,0.02,7.0000000000000007E-2]
[null,"Total Anions","meq/L","0.01",13.1,13.1,11.2,13.3,12.8,10.9,12.9,13.1,12.9,13.2,12.2,13.1,13.1,13,12.8,12.7]
[null,"Total Cations","meq/L","0.01",12.2,13.3,11.2,12.4,12.1,12.2,12.8,12,11.8,13.6,13.1,13,12.3,12.4,12.2,12]
[null,"Ionic Balance","%","0.01",3.62,0.89,0.16,3.43,2.65,5.53,0.36,4.18,4.2,1.51,3.58,0.28999999999999998,2.9,2.5,2.38,2.59]
["Diss. pet. gases","Methane","µg/L","10","<10","<10","<10","<10","<10","<10",11,19,38,33,48,39,33,40,24,"<10"]
[null,"Ethane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
[null,"Propane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
["PAH Suite","Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluorene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Phenanthrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benz(a)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Chrysene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(b+j)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(k)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(a)pyrene","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Indeno(1.2.3.cd)pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Dibenz(a.h)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Benzo(g.h.i)perylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Sum of polycyclic aromatic hydrocarbons","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Benzo(a)pyrene TEQ (zero)","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
["Total Recoverable Hydrocarbons","C6 - C9 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,"C10 - C14 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C15 - C28 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,"C29 - C36 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C10 - C36 Fraction (sum)","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C6 - C10 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,"C6 - C10 Fraction  minus BTEX (F1)","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,">C10 - C16 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C16 - C34 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C34 - C40 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C40 Fraction (sum)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C16 Fraction minus Naphthalene (F2)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
["BTEXN, Alpha/Beta, Surrogates","Benzene","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Toluene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Ethylbenzene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"meta- & para-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"ortho-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Total Xylenes","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Sum of BTEX","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Gross alpha","Bq/L","0.05",0.2,0.33,0.25,0.31,0.23,0.25,0.24,0.26,0.21,0.22,0.18,0.2,0.15,"---",0.14000000000000001,0.22]
[null,"Gross beta activity - 40K","Bq/L","0.10","<0.10",0.22,0.11,0.17,0.14000000000000001,0.12,0.11,0.16,"<0.10","<0.10","<0.10",0.12,0.15,"---",0.11,0.15]
[null,"Phenol-d6","%","1.0",26.5,24.4,26.6,18,22.7,26.7,22,24.4,32.9,15.6,24.9,25.2,"---","---","---","---"]
[null,"2-Chlorophenol-D4","%","1.0",55,53,55.4,37.700000000000003,52.8,54.7,55.6,59,64,46.7,42.4,53.9,"---","---","---","---"]
[null,"2.4.6-Tribromophenol","%","1.0",63.9,57.5,52,59.2,59.2,58.5,52,45.5,77,31.5,76.900000000000006,64.3,"---","---","---","---"]
[null,"2-Fluorobiphenyl","%","1.0",57.8,65.400000000000006,62.9,55.5,67.599999999999994,64.2,65.900000000000006,64.5,68.400000000000006,58.4,62.3,63.5,60.1,53.5,57.4,53.8]
[null,"Anthracene-d10","%","1.0",74.400000000000006,83.6,89.8,83.9,81.7,81.2,76.7,87.8,91.2,70.8,68.3,81.599999999999994,78.5,80.099999999999994,95.1,67.8]
[null,"4-Terphenyl-d14","%","1.0",80.5,90.8,88.7,92,80.8,92.5,96.6,99.9,91.3,72.8,67,91,66.599999999999994,73.400000000000006,88.8,75.099999999999994]
[null,"1.2-Dichloroethane-D4","%","2",112,96.6,86.6,123,120,118,113,132,99.5,91,110,126,102,91.4,104,119]
[null,"Toluene-D8","%","2",116,97,84.4,104,106,101,112,108,109,111,106,110,114,98.1,107,103]
[null,"4-Bromofluorobenzene","%","2",118,93.9,90.2,117,121,95.2,110,112,110,105,111,108,113,90.4,114,100]

{"sheet":"RN042462","index":1,"n_rows":112,"n_cols":20,"rows_kept":112,"cut":false,"hidden":false,"merged":[[93,0,111,0],[3,0,59,0],[60,0,62,0],[63,0,80,0],[81,0,92,0]]}
["RN042462"]
["CARPENTARIA 2"]
["Category","CHEMICAL NAME","RESULT UNIT","LIMIT OF DETECTION","2021-11-03","2021-11-14","2021-11-17","2021-11-21","2021-11-24","2021-11-28","2021-12-01","2021-12-08","2022-01-09","2022-01-26","2022-02-09","2022-02-23","2022-03-09","2022-03-23","2022-04-06","2022-07-17"]
["General, anions, cations and metal","pH - Lab","pH Unit","0.01",7.66,7.55,7.51,7.1,7.56,7.78,7.58,7.3,7.75,7.48,7.51,7.8,7.32,7.4,7.13,7.45]
[null,"Electrical Conductivity @ 25°C","µS/cm","1",1090,1070,1070,1040,1060,1080,1060,1040,1120,960,823,971,1060,976,1000,1050]
[null,"Total Dissolved Solids @180°C","mg/L","10",728,660,606,718,820,705,685,685,770,584,492,653,608,618,659,644]
[null,"Suspended Solids (SS)","mg/L","1","----",1,"<1",1,"<1",1,1,1,8,25,20,12,6,5,3,1]
[null,"Gross beta","Bq/L","0.10",0.35,0.45,0.48,0.47,0.38,0.4,0.49,0.48,0.64,0.44,0.36,0.48,0.42,"---",0.43,0.55000000000000004]
[null,"Hydroxide Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Carbonate Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Bicarbonate Alkalinity as CaCO3","mg/L","1",483,474,422,480,474,370,472,477,443,350,325,423,448,443,455,439]
[null,"Total Alkalinity as CaCO3","mg/L","1",483,474,422,480,474,370,472,477,443,350,325,423,448,443,455,439]
[null,"Sulfate as SO4 2-","mg/L","1",80,96,90,88,86,94,91,92,82,78,52,69,73,80,83,83]
[null,"Chloride","mg/L","1",59,55,50,57,51,54,57,51,94,76,43,56,55,61,53,58]
[null,"Calcium D","mg/L","1",115,118,108,116,112,113,122,117,105,94,91,108,108,112,112,106]
[null,"Magnesium D","mg/L","1",50,59,52,57,54,55,57,55,53,46,39,48,51,55,50,54]
[null,"Sodium D","mg/L","1",38,42,37,46,39,40,39,39,46,38,30,36,38,41,36,38]
[null,"Potassium D","mg/L","1",7,10,8,10,9,9,9,9,16,11,10,10,9,9,11,8]
[null,"Calcium T","mg/L","1",120,109,115,115,112,120,115,117,112,117,87,101,118,120,116,105]
[null,"Magnesium T","mg/L","1",60,52,55,56,55,56,57,57,54,56,38,50,53,62,56,57]
[null,"Sodium T","mg/L","1",37,39,39,40,39,40,42,40,46,45,30,36,39,43,40,40]
[null,"Potassium T","mg/L","1",7,9,9,9,9,10,9,9,17,13,9,9,10,11,10,8]
[null,"Arsenic D","mg/L","0.001","<0.001",1E-3,"<0.001",2E-3,1E-3,2E-3,2E-3,2E-3,3.0000000000000001E-3,"<0.001",1E-3,1E-3,1E-3,2E-3,1E-3,2E-3]
[null,"Barium D","mg/L","0.001",8.7999999999999995E-2,7.5999999999999998E-2,7.1999999999999995E-2,7.4999999999999997E-2,7.6999999999999999E-2,7.9000000000000001E-2,7.6999999999999999E-2,0.08,0.111,0.14499999999999999,0.24,0.159,0.126,0.114,9.9000000000000005E-2,0.125]
[null,"Cadmium D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium D","mg/L","0.001",5.5E-2,8.5000000000000006E-2,0.08,9.5000000000000001E-2,8.3000000000000004E-2,8.6999999999999994E-2,8.8999999999999996E-2,8.7999999999999995E-2,8.5999999999999993E-2,7.1999999999999995E-2,5.6000000000000001E-2,7.1999999999999995E-2,7.9000000000000001E-2,8.3000000000000004E-2,8.5999999999999993E-2,9.0999999999999998E-2]
[null,"Manganese D","mg/L","0.001",2.8000000000000001E-2,5.2999999999999999E-2,4.2999999999999997E-2,4.7E-2,4.2000000000000003E-2,4.2999999999999997E-2,0.04,4.2000000000000003E-2,7.2999999999999995E-2,8.6999999999999994E-2,0.121,8.7999999999999995E-2,7.2999999999999995E-2,7.3999999999999996E-2,5.6000000000000001E-2,0.05]
[null,"Selenium D","mg/L","0.01","<0.01","<0.01","<0.01",0.02,"<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium D","mg/L","0.001",0.495,0.51700000000000002,0.498,0.47699999999999998,0.53500000000000003,0.54800000000000004,0.52800000000000002,0.52800000000000002,0.47899999999999998,0.45900000000000002,0.36599999999999999,0.45100000000000001,0.48499999999999999,0.47299999999999998,0.48599999999999999,0.51800000000000002]
[null,"Zinc D","mg/L","0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005"]
[null,"Boron D","mg/L","0.05",0.11,0.11,0.11,0.15,0.12,0.12,0.12,0.11,0.11,0.1,0.08,0.1,0.1,0.13,0.11,0.14000000000000001]
[null,"Iron D","mg/L","0.05",0.43,"<0.05",0.7,0.83,0.69,0.87,0.56999999999999995,0.71,2.76,"<0.05",2.64,2.37,2.0499999999999998,1.88,0.84,0.76]
[null,"Arsenic T","mg/L","0.001","<0.001","<0.001","<0.001",1E-3,1E-3,1E-3,1E-3,2E-3,1E-3,2E-3,1E-3,2E-3,1E-3,1E-3,1E-3,1E-3]
[null,"Barium T","mg/L","0.001",7.8E-2,7.4999999999999997E-2,0.08,7.9000000000000001E-2,7.8E-2,8.5000000000000006E-2,0.08,0.08,0.13,0.26200000000000001,0.24,0.159,0.13500000000000001,0.11899999999999999,0.111,0.128]
[null,"Cadmium T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",5.0000000000000001E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium T","mg/L","0.001",5.7000000000000002E-2,8.8999999999999996E-2,0.09,8.4000000000000005E-2,8.4000000000000005E-2,0.10299999999999999,9.5000000000000001E-2,9.0999999999999998E-2,8.5000000000000006E-2,0.08,5.1999999999999998E-2,7.2999999999999995E-2,8.8999999999999996E-2,0.08,8.5999999999999993E-2,8.5000000000000006E-2]
[null,"Manganese T","mg/L","0.001",2.5999999999999999E-2,5.0999999999999997E-2,4.7E-2,4.8000000000000001E-2,4.3999999999999997E-2,4.3999999999999997E-2,4.1000000000000002E-2,4.1000000000000002E-2,8.1000000000000003E-2,0.13300000000000001,0.12,9.1999999999999998E-2,7.8E-2,7.2999999999999995E-2,6.3E-2,5.2999999999999999E-2]
[null,"Selenium T","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium T","mg/L","0.001",0.48699999999999999,0.51100000000000001,0.52100000000000002,0.54,0.52500000000000002,0.55900000000000005,0.54,0.52,0.54,0.55800000000000005,0.36,0.44700000000000001,0.56000000000000005,0.52800000000000002,0.498,0.54]
[null,"Zinc T","mg/L","0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005",6.0000000000000001E-3,"<0.005",1.0999999999999999E-2,"<0.005","<0.005","<0.005","<0.005"]
[null,"Boron T","mg/L","0.05",0.11,0.13,0.12,0.12,0.12,0.14000000000000001,0.14000000000000001,0.12,0.12,0.1,7.0000000000000007E-2,0.1,0.13,0.12,0.12,0.12]
[null,"Iron T","mg/L","0.05",0.54,1.18,0.86,0.91,0.61,0.94,0.65,0.78,3.48,10.7,3.55,3.13,2.57,2.0299999999999998,1.89,0.93]
[null,"Mercury D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Mercury T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Reactive Silica","mg/L","0.05",28.2,24.5,27.6,25.9,26,27.1,26.4,26.7,24.7,21.6,18.2,21.7,24.1,25.1,24.6,25.5]
[null,"Fluoride","mg/L","0.1",0.5,0.8,0.7,0.1,0.8,0.8,0.8,0.6,0.8,0.8,0.6,0.7,0.6,0.8,0.8,0.8]
[null,"Nitrite as N","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Nitrate as N","mg/L","0.01",0.08,"<0.01","<0.01","<0.01","<0.01","<0.01","<0.01",0.01,"<0.01","<0.01","<0.01","<0.01","<0.01",0.05,"<0.01",0.02]
[null,"Nitrite + Nitrate as N","mg/L","0.01",0.08,"<0.01","<0.01","<0.01","<0.01","<0.01","<0.01",0.01,"<0.01","<0.01","<0.01","<0.01","<0.01",0.05,"<0.01",0.02]
[null,"Total Anions","meq/L","0.01",13,13,11.7,13,12.7,10.9,12.9,12.9,13.2,10.8,8.7899999999999991,11.5,12,12.2,12.3,12.1]
[null,"Total Cations","meq/L","0.01",11.7,12.8,11.5,12.7,12,12.1,12.7,12.3,12,10.4,9.31,11.2,11.5,12.1,11.6,11.6]
[null,"Ionic Balance","%","0.01",5.25,0.75,1,1.1399999999999999,3,5.49,0.89,2.36,4.75,1.65,2.88,1.35,2.35,0.44,3.2,2.29]
["Diss. pet. gases","Methane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10",14,15,14,12,14,16,25,51]
[null,"Ethane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
[null,"Propane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
["PAH Suite","Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluorene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Phenanthrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benz(a)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Chrysene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(b+j)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(k)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(a)pyrene","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Indeno(1.2.3.cd)pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Dibenz(a.h)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Benzo(g.h.i)perylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Sum of polycyclic aromatic hydrocarbons","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Benzo(a)pyrene TEQ (zero)","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
["Total Recoverable Hydrocarbons","C6 - C9 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
["PAH Suite","C10 - C14 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50",50,"<50","<50","<50","<50","<50","<50","<50"]
[null,"C15 - C28 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100",100,"<100","<100",110,"<100","<100","<100","<100"]
[null,"C29 - C36 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C10 - C36 Fraction (sum)","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50",150,"<50","<50",110,"<50","<50","<50","<50"]
[null,"C6 - C10 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,"C6 - C10 Fraction  minus BTEX (F1)","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,">C10 - C16 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100",180,130,"<100",160,"<100","<100","<100","<100"]
[null,">C16 - C34 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C34 - C40 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C40 Fraction (sum)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100",180,130,"<100",160,"<100","<100","<100","<100"]
[null,">C10 - C16 Fraction minus Naphthalene (F2)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100",180,130,"<100",160,"<100","<100","<100","<100"]
["BTEXN, Alpha/Beta, Surrogates","Benzene","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Toluene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Ethylbenzene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"meta- & para-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"ortho-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Total Xylenes","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Sum of BTEX","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Gross alpha","Bq/L","0.05","0.29",0.57999999999999996,0.61,0.61,0.5,0.6,0.52,0.68,0.44,0.39,0.3,0.35,0.38,"---",0.34,0.64]
[null,"Gross beta activity - 40K","Bq/L","0.10","0.13",0.21,0.23,0.22,0.15,0.17,0.24,0.25,0.21,"<0.10",0.11,0.24,0.17,"---",0.19,0.27]
[null,"Phenol-d6","%","1.0","26.6",27,27.2,18.3,23,28.7,18.7,22.3,37.4,15.1,17.5,20.9,"---","---","---","---"]
[null,"2-Chlorophenol-D4","%","1.0","52.9",57.4,55.9,41.1,53.2,58.3,46.9,53.5,70.7,38.5,35.200000000000003,44.2,"---","---","---","---"]
[null,"2.4.6-Tribromophenol","%","1.0","64.2",66.7,59.2,56.6,54.7,64.400000000000006,47.2,38.200000000000003,98.4,30.2,38.6,56.4,"---","---","---","---"]
[null,"2-Fluorobiphenyl","%","1.0","56.2",69.3,66,55.6,66,67.900000000000006,60,65.2,82.9,75,52.5,61.4,59.1,61.5,56.8,51]
[null,"Anthracene-d10","%","1.0","74.2",90.7,89.2,74.5,74.400000000000006,98.3,74,76.2,102,72,60.2,77.2,81.8,85.7,86.2,51.8]
[null,"4-Terphenyl-d14","%","1.0","87.0",98.3,92.8,95.1,75.5,95.6,96.6,90.7,103,91.9,66.7,84.3,70.400000000000006,74.2,75.900000000000006,55.6]
[null,"1.2-Dichloroethane-D4","%","2","115",93.3,86.9,119,121,107,119,110,95.7,92.8,109,125,96.6,85.8,107,110]
[null,"Toluene-D8","%","2","110","88.2",89.1,102,106,88.2,112,106,98.1,117,111,113,105,108,109,95.3]
[null,"4-Bromofluorobenzene","%","2","109","90.4",93.3,116,118,82.4,112,107,101,110,116,101,110,99.5,116,97.8]

{"sheet":"RN042463","index":2,"n_rows":112,"n_cols":20,"rows_kept":112,"cut":false,"hidden":false,"merged":[[93,0,111,0],[3,0,59,0],[60,0,62,0],[63,0,80,0],[81,0,92,0]]}
["RN042463"]
["CARPENTARIA 2"]
["Category","CHEMICAL NAME","RESULT UNIT","LIMIT OF DETECTION","2021-11-03","2021-11-14","2021-11-17","2021-11-21","2021-11-24","2021-11-28","2021-12-01","2021-12-08","2022-01-09","2022-01-26","2022-02-09","2022-02-23","2022-03-09","2022-03-23","2022-04-06","2022-07-17"]
["General, anions, cations and metal","pH - Lab","pH Unit","0.01",7.65,7.45,7.46,7.04,7.55,7.6,7.52,7.26,7.74,7.39,7.5,7.57,7.29,7.35,7.11,7.52]
[null,"Electrical Conductivity @ 25°C","µS/cm","1",1090,1070,1080,1050,1080,1090,1080,1020,1060,1060,1030,1070,1080,976,1010,1030]
[null,"Total Dissolved Solids @180°C","mg/L","10",701,607,632,802,768,704,694,663,721,666,665,760,657,618,646,575]
[null,"Suspended Solids (SS)","mg/L","1","----",17,10,13,11,12,12,13,9,7,6,6,8,6,8,8]
[null,"Gross beta","Bq/L","0.10",0.45,0.38,0.31,0.32,0.32,0.36,0.27,0.33,0.26,0.22,0.23,0.31,0.33,"---",0.33,0.35]
[null,"Hydroxide Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Carbonate Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Bicarbonate Alkalinity as CaCO3","mg/L","1",473,476,347,484,484,426,483,481,474,459,400,481,459,467,472,454]
[null,"Total Alkalinity as CaCO3","mg/L","1",473,476,347,484,484,426,483,481,474,459,400,481,459,467,472,454]
[null,"Sulfate as SO4 2-","mg/L","1",84,91,82,81,79,84,81,80,75,65,68,67,55,59,56,37]
[null,"Chloride","mg/L","1",56,58,53,59,53,60,58,52,56,53,52,61,56,62,54,60]
[null,"Calcium D","mg/L","1",105,110,109,119,111,118,129,121,111,103,110,126,116,115,117,101]
[null,"Magnesium D","mg/L","1",51,50,48,54,49,53,55,52,51,48,51,53,51,54,49,51]
[null,"Sodium D","mg/L","1",44,36,35,39,36,38,39,38,38,36,38,39,38,39,36,38]
[null,"Potassium D","mg/L","1",8,7,7,8,7,8,8,8,8,7,7,8,8,7,9,6]
[null,"Calcium T","mg/L","1",114,113,120,119,117,126,118,126,120,114,118,118,126,122,119,100]
[null,"Magnesium T","mg/L","1",63,51,54,53,52,54,54,57,53,52,51,54,53,58,55,54]
[null,"Sodium T","mg/L","1",38,39,39,39,38,38,41,41,38,36,39,39,39,41,40,40]
[null,"Potassium T","mg/L","1",8,8,8,8,8,8,8,8,8,7,7,7,8,9,8,7]
[null,"Arsenic D","mg/L","0.001","<0.001","<0.001",2E-3,7.0000000000000001E-3,1E-3,1E-3,3.0000000000000001E-3,2E-3,3.0000000000000001E-3,2E-3,2E-3,4.0000000000000001E-3,4.0000000000000001E-3,2E-3,2E-3,2E-3]
[null,"Barium D","mg/L","0.001",8.4000000000000005E-2,0.17299999999999999,0.15,0.154,0.128,0.14499999999999999,0.14799999999999999,0.152,0.19600000000000001,0.16500000000000001,0.159,0.17,0.17399999999999999,0.16900000000000001,0.16600000000000001,0.23899999999999999]
[null,"Cadmium D","mg/L","0.0001","<0.0001","<0.0001","<0.0001",2.0000000000000001E-4,"<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001",1E-4,"<0.0001","<0.0001","<0.0001"]
[null,"Chromium D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium D","mg/L","0.001",8.2000000000000003E-2,5.6000000000000001E-2,4.9000000000000002E-2,0.06,0.05,5.2999999999999999E-2,5.3999999999999999E-2,5.3999999999999999E-2,5.0999999999999997E-2,3.5999999999999997E-2,5.5E-2,5.0999999999999997E-2,4.9000000000000002E-2,5.0999999999999997E-2,5.0999999999999997E-2,0.05]
[null,"Manganese D","mg/L","0.001",0.11600000000000001,0.20200000000000001,0.156,0.16600000000000001,0.14099999999999999,0.158,0.17599999999999999,0.155,0.19700000000000001,0.16600000000000001,0.13300000000000001,0.125,0.13300000000000001,0.124,0.111,9.1999999999999998E-2]
[null,"Selenium D","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium D","mg/L","0.001",0.52100000000000002,0.47499999999999998,0.45700000000000002,0.45200000000000001,0.46899999999999997,0.502,0.5,0.499,0.45400000000000001,0.44,0.441,0.48599999999999999,0.47399999999999998,0.46200000000000002,0.47799999999999998,0.47099999999999997]
[null,"Zinc D","mg/L","0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005",0.01,"<0.005","<0.005","<0.005"]
[null,"Boron D","mg/L","0.05",0.11,0.11,0.1,0.11,0.1,0.11,0.11,0.11,0.1,0.09,0.12,0.1,0.09,0.12,0.1,0.13]
[null,"Iron D","mg/L","0.05",4.1100000000000003,3.01,4.57,6.21,2.82,6.17,6.89,6.26,4.93,3.96,2.85,2.69,4.1900000000000004,4.07,1.84,4.9400000000000004]
[null,"Arsenic T","mg/L","0.001","<0.001","<0.001",1E-3,2E-3,2E-3,3.0000000000000001E-3,2E-3,2E-3,2E-3,2E-3,2E-3,3.0000000000000001E-3,3.0000000000000001E-3,2E-3,3.0000000000000001E-3,2E-3]
[null,"Barium T","mg/L","0.001",7.8E-2,0.19500000000000001,0.17599999999999999,0.158,0.14199999999999999,0.158,0.152,0.16,0.214,0.186,0.16700000000000001,0.17,0.19,0.17399999999999999,0.17799999999999999,0.25]
[null,"Cadmium T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",2E-3,"<0.001","<0.001","<0.001","<0.001"]
[null,"Lead T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium T","mg/L","0.001",0.09,5.7000000000000002E-2,5.6000000000000001E-2,5.1999999999999998E-2,5.0999999999999997E-2,6.3E-2,5.3999999999999999E-2,5.6000000000000001E-2,5.2999999999999999E-2,8.4000000000000005E-2,4.5999999999999999E-2,0.05,5.5E-2,4.8000000000000001E-2,0.05,4.8000000000000001E-2]
[null,"Manganese T","mg/L","0.001",0.124,0.20599999999999999,0.17799999999999999,0.16500000000000001,0.153,0.16800000000000001,0.17699999999999999,0.16400000000000001,0.223,0.18099999999999999,0.14499999999999999,0.123,0.14599999999999999,0.123,0.122,9.0999999999999998E-2]
[null,"Selenium T","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium T","mg/L","0.001",0.51,0.49299999999999999,0.50800000000000001,0.51100000000000001,0.496,0.52700000000000002,0.50700000000000001,0.52600000000000002,0.52200000000000002,0.51500000000000001,0.47,0.48699999999999999,0.55300000000000005,0.49199999999999999,0.48599999999999999,0.49199999999999999]
[null,"Zinc T","mg/L","0.005","<0.005",2.1000000000000001E-2,"<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005","<0.005",6.0000000000000001E-3,"<0.005","<0.005","<0.005","<0.005"]
[null,"Boron T","mg/L","0.05",0.1,0.12,0.11,0.12,0.11,0.12,0.12,0.11,0.11,0.15,0.1,0.11,0.12,0.1,0.11,0.12]
[null,"Iron T","mg/L","0.05",5.22,9.61,6.91,6.67,4.92,6.56,8.23,6.66,5.43,4.03,2.9,3.07,4.1399999999999997,3.52,4.92,4.92]
[null,"Mercury D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Mercury T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Reactive Silica","mg/L","0.05",25,26.5,27.2,27.6,27.8,28.9,28.2,28.1,29.3,28.4,29.3,28.3,28,28.4,27.4,27.6]
[null,"Fluoride","mg/L","0.1",0.8,0.5,0.6,0.6,0.5,0.5,0.5,0.4,0.5,0.5,0.5,0.5,0.4,0.5,0.5,0.5]
[null,"Nitrite as N","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Nitrate as N","mg/L","0.01",0.06,0.02,0.01,0.02,0.02,0.01,0.01,0.02,0.02,0.03,0.02,0.02,0.03,7.0000000000000007E-2,0.01,0.03]
[null,"Nitrite + Nitrate as N","mg/L","0.01",0.06,0.02,0.01,0.02,0.02,0.01,0.01,0.02,0.02,0.03,0.02,0.02,0.03,7.0000000000000007E-2,0.01,0.03]
[null,"Total Anions","meq/L","0.01",12.8,13,10.1,13,12.8,12,13,12.7,12.6,12,10.9,12.7,11.9,12.3,12.1,11.5]
[null,"Total Cations","meq/L","0.01",11.6,11.3,11.1,12.3,11.3,12.1,12.9,12.2,11.6,10.8,11.5,12.6,11.8,12,11.7,11]
[null,"Ionic Balance","%","0.01",5.03,6.94,4.5,2.91,6.19,0.64,0.42,2.2799999999999998,4.2,5.18,2.88,0.69,0.22,1.02,1.9,2.17]
["Diss. pet. gases","Methane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10",13,15,23,126]
[null,"Ethane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
[null,"Propane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
["PAH Suite","Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Acenaphthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluorene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Phenanthrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benz(a)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Chrysene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(b+j)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(k)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Benzo(a)pyrene","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Indeno(1.2.3.cd)pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Dibenz(a.h)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Benzo(g.h.i)perylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Sum of polycyclic aromatic hydrocarbons","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Benzo(a)pyrene TEQ (zero)","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
["Total Recoverable Hydrocarbons","C6 - C9 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
["PAH Suite","C10 - C14 Fraction","µg/L","50","<50",160,100,50,70,70,110,60,60,"<50","<50","<50","<50","<50","<50","<50"]
[null,"C15 - C28 Fraction","µg/L","100","<100",130,140,"<100","<100",120,100,"<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,"C29 - C36 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C10 - C36 Fraction (sum)","µg/L","50","<50",290,240,50,70,190,210,60,60,"<50","<50","<50","<50","<50","<50","<50"]
[null,"C6 - C10 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,"C6 - C10 Fraction  minus BTEX (F1)","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,">C10 - C16 Fraction","µg/L","100","<100",270,180,140,110,150,160,130,160,150,"<100","<100","<100","<100","<100","<100"]
[null,">C16 - C34 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C34 - C40 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C40 Fraction (sum)","µg/L","100","<100",270,180,140,110,150,160,130,160,150,"<100","<100","<100","<100","<100","<100"]
[null,">C10 - C16 Fraction minus Naphthalene (F2)","µg/L","100","<100",270,180,140,110,150,160,130,160,150,"<100","<100","<100","<100","<100","<100"]
["BTEXN, Alpha/Beta, Surrogates","Benzene","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Toluene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Ethylbenzene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"meta- & para-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"ortho-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Total Xylenes","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Sum of BTEX","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Gross alpha","Bq/L","0.05","0.45",0.32,0.28999999999999998,0.3,0.3,0.31,0.27,0.25,0.25,0.18,0.2,0.2,0.19,"---",0.17,0.22]
[null,"Gross beta activity - 40K","Bq/L","0.10","0.22",0.17,0.11,"<0.10",0.12,0.16,"<0.10",0.13,"<0.10","<0.10","<0.10",0.11,0.12,"---",0.13,0.12]
[null,"Phenol-d6","%","1.0","23.7",29.3,28.7,20.9,23.3,24.7,17.2,23.1,26.5,17.8,20.8,25.2,"---","---","---","---"]
[null,"2-Chlorophenol-D4","%","1.0","46.5",60.1,56.1,47.3,51.1,49.1,41.7,53.3,49.6,39.5,37.6,51.7,"---","---","---","---"]
[null,"2.4.6-Tribromophenol","%","1.0","71.2",65.7,37.6,59.1,63.2,59.9,41,45,61.6,38.299999999999997,65.5,69.900000000000006,"---","---","---","---"]
[null,"2-Fluorobiphenyl","%","1.0","50.1",73.5,67.099999999999994,54.8,70,55.6,56.3,69.2,59,77.5,57.6,67.099999999999994,67,49.2,66.8,58.2]
[null,"Anthracene-d10","%","1.0","79.4",87.2,84.4,83.2,76.7,69.7,69.400000000000006,79.2,71,63.3,68.3,85.4,87.3,74.400000000000006,89.6,70.7]
[null,"4-Terphenyl-d14","%","1.0","91.8",90,89.8,92.9,78.8,80.900000000000006,83,93.6,72.400000000000006,84.5,70.400000000000006,93.1,74.3,68.3,79.3,81]
[null,"1.2-Dichloroethane-D4","%","2","114",87,87.4,116,124,116,118,130,102,90.6,96.6,128,103,82.8,101,116]
[null,"Toluene-D8","%","2","109","87.8",86.2,100,108,100,104,106,110,111,96.8,110,116,102,108,104]
[null,"4-Bromofluorobenzene","%","2","104","81.5",90.9,112,119,93.8,107,105,109,106,101,98.8,117,95.2,115,100]

{"sheet":"RN042464","index":3,"n_rows":112,"n_cols":20,"rows_kept":112,"cut":false,"hidden":false,"merged":[[93,0,111,0],[3,0,59,0],[60,0,62,0],[63,0,80,0],[81,0,92,0]]}
["RN042464"]
["CARPENTARIA 2"]
["Category","CHEMICAL NAME","RESULT UNIT","LIMIT OF DETECTION","2021-11-03","2021-11-14","2021-11-17","2021-11-21","2021-11-24","2021-11-28","2021-12-01","2021-12-08","2022-01-09","2022-01-26","2022-02-09","2022-02-23","2022-03-09","2022-03-23","2022-04-06","2022-07-17"]
["General, anions, cations and metal","pH - Lab","pH Unit","0.01",7.51,7.43,7.43,7.03,7.55,7.58,7.49,7.27,7.64,7.33,7.44,7.5,7.62,7.24,7.06,7.4]
[null,"Electrical Conductivity @ 25°C","µS/cm","1",1120,1110,1100,1070,1090,1100,1090,1040,1110,1080,1060,1110,1120,1040,1060,1120]
[null,"Total Dissolved Solids @180°C","mg/L","10",717,600,582,814,790,716,712,748,792,698,700,791,756,689,708,678]
[null,"Suspended Solids (SS)","mg/L","1","----",1,"<1",1,"<1","<1","<1",1,2,5,6,2,3,7,2,"<1"]
[null,"Gross beta","Bq/L","0.10",0.3,0.31,0.36,0.31,0.31,0.25,0.32,0.27,0.27,0.3,0.25,0.3,0.34,"---",0.31,0.32]
[null,"Hydroxide Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Carbonate Alkalinity as CaCO3","mg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Bicarbonate Alkalinity as CaCO3","mg/L","1",493,484,390,497,490,369,492,496,482,470,486,482,464,474,478,455]
[null,"Total Alkalinity as CaCO3","mg/L","1",493,484,390,497,490,369,492,496,482,470,486,482,464,474,478,455]
[null,"Sulfate as SO4 2-","mg/L","1",80,92,83,83,81,85,84,85,122,77,83,85,83,84,83,86]
[null,"Chloride","mg/L","1",60,57,52,59,53,61,60,54,56,55,52,61,57,62,55,60]
[null,"Calcium D","mg/L","1",128,123,120,124,117,126,140,130,127,108,144,143,131,134,141,123]
[null,"Magnesium D","mg/L","1",48,46,44,47,44,48,50,47,50,43,52,50,49,52,48,50]
[null,"Sodium D","mg/L","1",42,36,35,37,35,38,39,38,40,34,45,39,38,40,38,38]
[null,"Potassium D","mg/L","1",7,7,7,8,7,8,8,8,8,6,9,9,8,8,10,7]
[null,"Calcium T","mg/L","1",129,130,129,132,126,141,132,133,132,154,130,135,143,136,135,123]
[null,"Magnesium T","mg/L","1",54,48,48,50,48,51,50,50,50,58,48,51,50,54,50,52]
[null,"Sodium T","mg/L","1",37,40,37,39,38,39,41,40,38,46,39,40,40,41,39,40]
[null,"Potassium T","mg/L","1",6,8,8,8,8,9,8,8,8,9,8,8,8,9,8,7]
[null,"Arsenic D","mg/L","0.001","<0.001","<0.001",1E-3,4.0000000000000001E-3,"<0.001",1E-3,2E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Barium D","mg/L","0.001",8.6999999999999994E-2,0.28000000000000003,0.27200000000000002,0.22700000000000001,0.151,0.16800000000000001,0.158,0.11899999999999999,9.9000000000000005E-2,9.1999999999999998E-2,0.111,0.106,0.108,0.10100000000000001,9.1999999999999998E-2,8.4000000000000005E-2]
[null,"Cadmium D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper D","mg/L","0.001","<0.001","<0.001","<0.001",1E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lead D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium D","mg/L","0.001",3.7999999999999999E-2,4.2000000000000003E-2,3.6999999999999998E-2,4.3999999999999997E-2,3.6999999999999998E-2,3.7999999999999999E-2,4.2000000000000003E-2,3.9E-2,4.2999999999999997E-2,3.2000000000000001E-2,4.1000000000000002E-2,0.04,0.04,4.1000000000000002E-2,4.2999999999999997E-2,4.3999999999999997E-2]
[null,"Manganese D","mg/L","0.001",7.0000000000000001E-3,0.45700000000000002,0.40699999999999997,0.36699999999999999,0.26,0.25,0.22800000000000001,0.17699999999999999,9.8000000000000004E-2,0.109,0.13400000000000001,0.114,0.11700000000000001,0.104,8.5999999999999993E-2,7.0000000000000001E-3]
[null,"Selenium D","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver D","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium D","mg/L","0.001",0.49399999999999999,0.49299999999999999,0.47,0.43099999999999999,0.46100000000000002,0.50600000000000001,0.51200000000000001,0.498,0.48699999999999999,0.432,0.51900000000000002,0.499,0.48799999999999999,0.47199999999999998,0.51300000000000001,0.499]
[null,"Zinc D","mg/L","0.005",5.0000000000000001E-3,7.0000000000000001E-3,6.0000000000000001E-3,0.01,"<0.005",6.0000000000000001E-3,"<0.005",6.0000000000000001E-3,"<0.005",5.0000000000000001E-3,7.0000000000000001E-3,"<0.005",7.0000000000000001E-3,6.0000000000000001E-3,7.0000000000000001E-3,7.0000000000000001E-3]
[null,"Boron D","mg/L","0.05",0.1,0.11,0.1,0.11,0.1,0.1,0.11,0.1,0.11,0.1,0.13,0.11,0.09,0.12,0.1,0.13]
[null,"Iron D","mg/L","0.05",0.33,0.78,0.76,0.9,0.31,0.82,0.92,0.2,"<0.05",0.62,1.03,0.35,1,1.02,0.32,"<0.05"]
[null,"Arsenic T","mg/L","0.001","<0.001","<0.001","<0.001",1E-3,"<0.001",2E-3,1E-3,"<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Barium T","mg/L","0.001",8.5000000000000006E-2,0.29399999999999998,0.307,0.254,0.16600000000000001,0.193,0.16400000000000001,0.124,0.113,0.129,0.11,0.104,0.11799999999999999,0.104,9.0999999999999998E-2,8.5999999999999993E-2]
[null,"Cadmium T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Chromium T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Copper T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001",2E-3,"<0.001","<0.001","<0.001","<0.001"]
[null,"Lead T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Lithium T","mg/L","0.001",4.2000000000000003E-2,4.2000000000000003E-2,4.2000000000000003E-2,0.04,3.9E-2,5.0999999999999997E-2,4.2999999999999997E-2,4.2999999999999997E-2,4.2999999999999997E-2,4.3999999999999997E-2,3.7999999999999999E-2,0.04,4.2999999999999997E-2,3.7999999999999999E-2,3.9E-2,4.1000000000000002E-2]
[null,"Manganese T","mg/L","0.001",7.0000000000000001E-3,0.47,0.45200000000000001,0.38900000000000001,0.28799999999999998,0.27700000000000002,0.23499999999999999,0.19900000000000001,0.113,0.158,0.13,0.111,0.13,9.9000000000000005E-2,8.8999999999999996E-2,7.0000000000000001E-3]
[null,"Selenium T","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Silver T","mg/L","0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]
[null,"Strontium T","mg/L","0.001",0.52600000000000002,0.52600000000000002,0.50900000000000001,0.53300000000000003,0.49299999999999999,0.55700000000000005,0.53800000000000003,0.51,0.54400000000000004,0.60199999999999998,0.47899999999999998,0.496,0.56699999999999995,0.50800000000000001,0.50600000000000001,0.52200000000000002]
[null,"Zinc T","mg/L","0.005",8.9999999999999993E-3,7.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,7.0000000000000001E-3,6.0000000000000001E-3,0.13800000000000001,7.0000000000000001E-3,8.9999999999999993E-3,7.0000000000000001E-3,8.0000000000000002E-3,7.0000000000000001E-3,6.0000000000000001E-3,8.0000000000000002E-3,6.0000000000000001E-3]
[null,"Boron T","mg/L","0.05",0.1,0.12,0.11,0.12,0.12,0.13,0.12,0.12,0.11,0.11,0.1,0.11,0.11,0.1,0.1,0.12]
[null,"Iron T","mg/L","0.05",0.42,1.53,1.1299999999999999,1.2,0.47,1.27,1.23,0.34,0.94,2.96,2.7,0.72,2.3199999999999998,3.13,1.34,"<0.05"]
[null,"Mercury D","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Mercury T","mg/L","0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001","<0.0001"]
[null,"Reactive Silica","mg/L","0.05",30.9,29.1,29.5,31.4,30.5,31.8,30.7,30.7,30.4,29.6,31.1,30.3,29.9,30.8,30,31.2]
[null,"Fluoride","mg/L","0.1",0.4,0.4,0.4,0.4,0.4,0.4,0.4,0.3,0.4,0.4,0.4,0.4,0.3,0.4,0.4,0.4]
[null,"Nitrite as N","mg/L","0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01"]
[null,"Nitrate as N","mg/L","0.01",0.08,0.02,0.02,0.03,0.03,0.02,0.03,0.04,0.04,0.03,0.03,0.04,0.04,7.0000000000000007E-2,0.03,7.0000000000000007E-2]
[null,"Nitrite + Nitrate as N","mg/L","0.01",0.08,0.02,0.02,0.03,0.03,0.02,0.03,0.04,0.04,0.03,0.03,0.04,0.04,7.0000000000000007E-2,0.03,7.0000000000000007E-2]
[null,"Total Anions","meq/L","0.01",13.2,13.2,11,13.3,13,10.9,13.3,13.2,13.8,12.5,12.9,13.1,12.6,13,12.8,12.6]
[null,"Total Cations","meq/L","0.01",12.3,11.7,11.3,11.9,11.2,12.1,13,12.2,12.4,10.6,13.6,13.2,12.4,12.9,12.9,12.1]
[null,"Ionic Balance","%","0.01",3.38,6.13,1.45,5.76,7.5,5.37,1.02,3.9,5.17,8.59,2.82,0.22,0.72,0.22,0.25,1.98]
["Diss. pet. gases","Methane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
[null,"Ethane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
[null,"Propane","µg/L","10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10","<10"]
["PAH Suite","Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Acenaphthylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Acenaphthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Fluorene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Phenanthrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Benz(a)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Chrysene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Benzo(b+j)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Benzo(k)fluoranthene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<1"]
[null,"Benzo(a)pyrene","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Indeno(1.2.3.cd)pyrene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Dibenz(a.h)anthracene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Benzo(g.h.i)perylene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1.0","<1.0","<1.0"]
[null,"Sum of polycyclic aromatic hydrocarbons","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
[null,"Benzo(a)pyrene TEQ (zero)","µg/L","0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.05"]
["Total Recoverable Hydrocarbons","C6 - C9 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
["PAH Suite","C10 - C14 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C15 - C28 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,"C29 - C36 Fraction","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C10 - C36 Fraction (sum)","µg/L","50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50","<50"]
[null,"C6 - C10 Fraction","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,"C6 - C10 Fraction  minus BTEX (F1)","µg/L","20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20","<20"]
[null,">C10 - C16 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C16 - C34 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C34 - C40 Fraction","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C40 Fraction (sum)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
[null,">C10 - C16 Fraction minus Naphthalene (F2)","µg/L","100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100","<100"]
["BTEXN, Alpha/Beta, Surrogates","Benzene","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Toluene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Ethylbenzene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"meta- & para-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"ortho-Xylene","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Total Xylenes","µg/L","2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2","<2"]
[null,"Sum of BTEX","µg/L","1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1"]
[null,"Naphthalene","µg/L","1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1.0","<1","<1","<1","<0.1"]
[null,"Gross alpha","Bq/L","0.05","0.21",0.26,0.31,0.2,0.26,0.19,0.23,0.22,0.17,0.2,0.18,0.2,0.18,"---",0.18,0.25]
[null,"Gross beta activity - 40K","Bq/L","0.10","<0.10","<0.10",0.14000000000000001,"<0.10",0.11,"<0.10","<0.10","<0.10","<0.10","<0.10","<0.10","<0.10",0.13,"---",0.11,"<0.1"]
[null,"Phenol-d6","%","1.0","19.7",21.5,31.4,18.7,21.5,23.7,20.8,22.6,26.6,16.8,18.5,28.2,"---","---","---","---"]
[null,"2-Chlorophenol-D4","%","1.0","42.3",46.7,63.7,43.5,49.9,44.9,53.2,53.4,51.6,40.5,36.299999999999997,58.7,"---","---","---","---"]
[null,"2.4.6-Tribromophenol","%","1.0","51.4",47.7,65.400000000000006,44.5,63.1,48.1,48,37.799999999999997,76,33.9,41.4,69.099999999999994,"---","---","---","---"]
[null,"2-Fluorobiphenyl","%","1.0","53.4",57.1,72,55.2,61.6,52.5,67,68.7,58.4,58.7,55.8,79.400000000000006,54.6,47.5,51.5,62.4]
[null,"Anthracene-d10","%","1.0","63.1",76.2,105,80,81.900000000000006,63.1,75.599999999999994,78.400000000000006,88.2,91,65.7,91,72.599999999999994,74.400000000000006,82.7,73.3]
[null,"4-Terphenyl-d14","%","1.0","65.1",86.3,100,91.2,85.5,72.3,89,94.7,92.2,83.9,73.099999999999994,92.3,62.6,65.5,75.7,78]
[null,"1.2-Dichloroethane-D4","%","2","110",101,89.2,119,113,126,122,130,97.8,90.7,116,118,99.3,86.9,99.7,99.4]
[null,"Toluene-D8","%","2","110","104",89.1,101,110,107,113,104,108,110,112,109,112,110,101,86.7]
[null,"4-Bromofluorobenzene","%","2","111","96.7",93.8,115,110,97.9,114,106,104,104,122,98.3,114,97.5,108,80.7]

{"sheet":"Sheet1","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}